## Year 1 (2011-2012)
Site | Drop Position (Planned) |  |  | Survey Postion |  |  | Date Deployed | Deployed Cruise (Leg) | Date Recovered | Recovered Cruise (Leg) | Instrument Type | Recorded | [5 empty] | Notes
| Latitude (Dec.) | Longitude (Dec.) | Depth (m) | Latitude (Dec.) | Longitude (Dec.) | Depth (m) | [5 empty] | HHZ/BHZ/LHZ | HH1/BH1/LH1 | HH2/BH2/LH2 | APG | DPG | Redacted |  | PSD PDF Notes
FN01A | 46.883 | -124.395 | 64 | 46.882 | -124.3337 | 54 | 2011-07-26 | W1107A (L1) | 2012-07-21 | TN283 (L2) | LDEO - TRM | probably usable | unusable | unusable | good |  |  |  | #1 - All Channels unusable (changed HHZ to unusable)
FN02A | 46.9302 | -124.4711 | 80 |  |  |  |  | W1107A (L1) | [9 empty] | Not deployed. | #2 - No PSD
FN03A | 46.8705 | -124.5252 | 92 | 46.8868 | -124.5251 | 90 | 2011-07-27 | W1107A (L1) | 2012-07-21 | TN283 (L2) | LDEO - TRM | unusable | unusable | unusable | good |  |  | Possibly tilted/upside down | #3 - No PSD
FN04A | 46.9176 | -124.6013 | 104 | 46.9178 | -124.6015 | 104 | 2011-07-27 | W1107A (L1) | 2011-08-13 | ROPOS ROV | [7 empty] | Deployed upside-down, recovered by ROPOS ROV on 13-Aug-2011 | #4 - No PSD
FN05A | 46.858 | -124.6554 | 125 | 46.8578 | -124.6553 | 124 | 2011-07-30 | W1107A (L1) | 2012-07-19 | TN283 (L2) | LDEO - TRM | probably unusable | probably unusable | probably unusable | unsable |  |  |  | All Channels unuseable - Appears to be dying for a bit
FN06A | 46.9051 | -124.7315 | 137 | 46.9223 | -124.7316 | 134 | 2011-07-27 | W1107A (L1) | 2012-07-19 | TN283 (L2) | LDEO - TRM | unusable | unusable | unusable | good |  |  | Sling with bikini carpeted shackle attached (Fig 8) | No PSD
FN07A | 46.8454 | -124.7856 | 160 | 46.8555 | -124.7865 | 154 | 2011-07-30 | W1107A (L1) | 2012-07-20 | TN283 (L2) | LDEO - TRM | good | good | good | good |  |  |  | 10 Hz Noise (anthropogenic?)
FN08A | 46.8925 | -124.8616 | 222 | 46.8888 | -124.8769 | 177 | 2011-07-28 | W1107A (L1) | 2012-07-21 | TN283 (L2) | LDEO - TRM | probably unusable | probably unusable | probably unusable | good |  |  | Likely upside down | All Channels probably unuseable
FN09A | 46.8329 | -124.9157 | 366 | 46.8401 | -124.8877 | 198 | 2011-07-28 | W1107A (L1) | 2012-07-18 | TN283 (L2) | LDEO - TRM | unusable | unusable | unusable | good |  |  |  | No PSD
FN10A | 46.88 | -124.9917 | 777 | 46.8978 | -124.9936 | 795 | 2011-07-26 | W1107A (L1) | 2012-07-19 | TN283 (L2) | LDEO - TRM | unusable | unusable | unusable | good |  |  | Sling with shackle attached | No PSD
FN11A | 46.8203 | -125.0458 | 640 |  |  |  |  | W1107A (L1) | [9 empty] | Not deployed, fishing hazard. | No PSD
FN12A | 46.8674 | -125.1218 | 710 | 46.8885 | -125.1192 | 650 | 2011-07-26 | W1107A (L1) | 2012-07-20 | TN283 (L2) | LDEO - TRM | probably unusable | probably unusable | probably unusable | good |  |  |  | All Channel Unuseable - Appears to by dying
FN14A | 47.03 | -125 | 754 | 47.0247 | -124.9647 | 173 | 2011-07-30 | W1107A (L1) | 2012-07-20 | TN283 (L2) | LDEO - TRM | good | good | good | good |  |  | Sling with bikini carpeted shackle | Acceptable OBS PSD
FN15A | 47.06 | -124.7 | 110 |  |  |  |  | W1107A (L1) | [9 empty] | Not deployed. | No PSD
FN16A | 46.8 | -125.5167 | 1969 | 46.7996 | -125.5161 | 1907 | 2011-10-16 | W1110B (L2) | 2012-07-21 | TN283 (L2) | LDEO - APG | good | good | good | good |  |  |  | 10-20 Hz Noise - lots of mass recenterings
FN17A | 46.67 | -125 | 1031 |  |  |  |  | W1107A (L1) | [9 empty] | Not deployed, fishing hazard. | No PSD
FN18A | 46.7 | -124.7 | 155 | 46.6998 | -124.7248 | 163 | 2011-07-29 | W1107A (L1) | 2012-07-18 | TN283 (L2) | LDEO - TRM | issues, but probably usable | issues, but probably usable | issues, but probably useable | good |  |  | Sling with bikini carpeted shackle attached (Fig 8) | Very Noisy, Appears to be dying, tons of mass recenters (?)
FN19A | 46.73 | -124.4 | 82 | 46.7298 | -124.3671 | 75 | 2011-07-29 | W1107A (L1) | 2012-07-21 | TN283 (L2) | LDEO - TRM | unusable | unusable | unusable | good |  |  | Sling with carpetted shackle attached (Fig 7). | No PSD
G03A | 40.0577 | -126.1159 | 4020 | 40.0591 | -126.1625 | 4113 | 2011-11-16 | W1110B2 (L3) | 2012-05-13 | OC1205A (L1) | WHOI - Keck | issues, but probably usable | issues, but probably usable | issues, but probably usable |  | good |  | 6 Hz noise, noisy long period | Slight 6 Hz Noise on Horizontals, Otherwise fine
G30A | 41.9323 | -128.5393 | 3276 | 41.955 | -128.3193 | 3124 | 2011-11-17 | W1110B2 (L3) | 2012-05-14 | OC1205A (L1) | WHOI - Keck | issues, but probably usable | issues, but probably usable | issues, but probably usable |  | good |  | 6 Hz noise, noisy long period | Slight 6 Hz Nois on Horizontals and exceptionally noisy beyond 30s
J06A | 43.4104 | -128.7958 | 3222 | 43.2515 | -128.801 | 3224 | 2011-11-18 | W1110B2 (L3) | 2012-05-14 | OC1205A (L1) | WHOI - Keck | good | issues, but probably usable | issues, but probably usable |  | good |  | 6 Hz noise, noisy long period | #6 Acceptable OBS PSD
J23A | 44.8868 | -129.651 | 2654 | 44.844 | -129.6825 | 2655 | 2011-11-20 | W1110B2 (L3) | 2012-05-15 | OC1205A (L1) | WHOI - Keck | issues, but probably usable | issues, but probably usable | issues, but probably usable |  | good |  | 6 Hz noise, noisy long period | #23 Lots of Noise on the Horizontals below 1s. Occasionally pegged at -200 dB
J25A | 44.4725 | -124.6218 | 145 | 44.4729 | -124.6216 | 143 | 2011-10-21 | W1110B (L2) | 2012-07-17 | NH1206 (L3) | SIO - Abalone | issues, but probably usable | issues, but probably usable | issues, but probably usable |  | good |  | X/Y staturate. Z is low amplitude and noisy. Shallow location causing this? | #25 - Tons of calibrations/mass recenters (?), Exceptionally Noisy at Long period (>30s)s. 6-10 Hz noise all channels
J26A | 44.655 | -125.4663 | 2854 | 44.6547 | -125.4664 | 2864 | 2011-10-20 | W1110B (L2) | 2012-07-15 | TN283 (L2) | LDEO - APG | good | unusable | unusable | good |  |  |  | #26 - Horizontals Unuseable, Vertical has lots of mass recents (?), almost always pegged at -200dB
J28A | 45.0335 | -127.1552 | 2865 | 45.0636 | -127.1564 | 2867 | 2011-11-15 | W1110B2 (L3) | 2012-05-15 | OC1205A (L1) | WHOI - Keck | good | issues, but probably usable | issues, but probably usable |  | good |  | 6 Hz noise | #28 -Noisy 6-20Hz on Horizontals. Often pegged at -200 dB
J29A | 45.2134 | -128.0078 | 2808 | 45.1757 | -128.0084 | 2849 | 2011-07-19 | W1110B2 (L3) | 2012-05-15 | OC1205A (L1) | WHOI - ARRA | good | good | good |  | good |  |  | #29 - Often pegged at -200 dB
J30A | 45.3867 | -128.8655 | 2839 | 45.4242 | -128.9069 | 2824 | 2011-11-19 | W1110B2 (L3) | 2012-05-15 | OC1205A (L1) | WHOI - ARRA | good | good | good |  | good |  |  | #30 Acceptable OBS PSD
J31A | 45.5335 | -129.7279 | 2360 | 45.5531 | -129.6727 | 2657 | 2011-07-20 | W1110B2 (L3) | 2012-05-15 | OC1205A (L1) | WHOI - ARRA | good | good | good |  | good |  |  | #31 Weird Noise 1-5Hz on Horizontals
J32A | 45.7136 | -130.5946 | 2766 |  |  |  |  | W1110B2 (L3) |  |  | WHOI - ARRA | [6 empty] | Not deployed. | No PSD
J33A | 45.1067 | -124.5707 | 363 | 45.1066 | -124.5708 | 349 | 2011-10-15 | W1110B (L2) | 2012-07-18 | NH1206 (L3) | SIO - Abalone | issues, but probably usable | issues, but probably usable | issues, but probably usable |  | issues, but probably usable |  | Noisy | #33 - Tons of Calibrations/mass recenters(?), Exceptionally Noisy at long periods (>30s)
J34A | 45.3058 | -125.4157 | 2562 | 45.3057 | -125.4145 | 2574 | 2011-10-15 | W1110B (L2) | 2012-07-17 | TN283 (L2) | LDEO - APG | good | good | good | good |  |  |  | #34 - Horizontals mostly pegged at -200dB. Verticals are often pegged there as well.
J35A | 45.4985 | -126.2665 | 2661 | 45.4989 | -126.2668 | 2662 | 2011-10-20 | W1110B (L2) | 2012-07-17 | NH1206 (L3) | SIO - Abalone | good | good | good |  | good | redacted |  | #35 - 100s noise on the vertical, often pegged at -200dB
J36A | 45.685 | -127.1233 | 2838 | 45.6855 | -127.1225 | 2821 | 2011-10-19 | W1110B (L2) | 2012-07-16 | NH1206 (L3) | SIO - Abalone | issues, but probably usable | issues, but probably usable | issues, but probably usable |  | issues, but probably usable | redacted | Noisy. Data collection started 3H after Sync. | #36 - 8-20Hz Noise, often pegged at -200dB
J37A | 45.8649 | -127.9857 | 2858 | 45.8642 | -127.9853 | 2862 | 2011-11-28 | W1110B2 (L3) | 2012-05-16 | OC1205A (L1) | WHOI - ARRA | good | good | good |  | good | redacted |  | #37 - Noisy 6-20Hz on Horrizontals. Often pegged at -200 dB
J38A | 46.0382 | -128.8533 | 2776 | 46.0395 | -128.8531 | 2734 | 2011-11-22 | W1110B2 (L3) | 2012-05-16 | OC1205A (L1) | WHOI - ARRA | good | good | good |  | good |  |  | #38 - Slight Noise at shorter periods. A fair amount of mass recenters (?) on vertical
J39A | 46.2078 | -129.7256 | 2179 | 46.176 | -129.6441 | 2659 | 2011-11-21 | W1110B2 (L3) | 2012-05-16 | OC1205A (L1) | WHOI - ARRA | good | good | good |  | good |  |  | #39 - Strong 6-10Hz Noise on Horrizontals
J41A | 45.7447 | -124.4585 | 175 | 45.8119 | -124.5372 | 175 | 2011-07-24 | W1107A (L1) | 2012-07-13 | TN283 (L2) | LDEO - TRM | issues, but probably usable | issues, but probably usable | issues, but probably usable | good |  |  |  | #41 - Appears to be dying a fair amount of the time
J42A | 45.9333 | -125.3 | 1568 | 45.9331 | -125.2997 | 1540 | 2011-10-15 | W1110B (L2) | 2012-07-15 | TN283 (L2) | LDEO - APG | good | good | good | good |  |  |  | #42 - Acceptable OBS PSD. Quietter than WHOI below ~1s
J43A | 46.1382 | -126.1727 | 2650 | 46.1378 | -126.1721 | 2654 | 2011-10-19 | W1110B (L2) | 2012-07-16 | NH1206 (L3) | SIO - Abalone | good | good | good |  | good | redacted |  | #43 - 8-20Hz Noise, often pegged at -200dB
J44A | 46.3252 | -127.039 | 2717 | 46.323 | -127.039 | 2724 | 2011-10-19 | W1110B (L2) | 2012-07-16 | NH1206 (L3) | SIO - Abalone | issues, but probably usable | issues, but probably usable | issues, but probably usable |  | good | redacted | See periodic signal on X/Y- motors (not present on Z or DPG) | #44 - 8-20Hz Noise, often pegged at -200dB
J45A | 46.6056 | -127.9109 | 2747 | 46.5209 | -127.9049 | 2757 | 2011-11-27 | W1110B2 (L3) | 2012-05-17 | OC1205A (L1) | WHOI - ARRA | good | good | good |  | good |  |  | #45 - Noisy 6-20Hz horizontals, often pegged at -200 dB
J46A | 46.6792 | -128.7882 | 2751 | 46.6639 | -128.7883 | 2744 | 2011-11-22 | W1110B2 (L3) | 2012-05-17 | OC1205A (L1) | WHOI - Keck | issues, but probably usable | good | good |  | good |  | 6 Hz noise | #46 - Noisy Horizontals (~6-10 Hz), Often pegged at -200dB
J47A | 46.8459 | -129.6704 | 2685 | 46.8433 | -129.7135 | 2685 | 2011-11-22 | W1110B2 (L3) | 2012-05-17 | OC1205A (L1) | WHOI - ARRA | good | good | good |  | good |  |  | #47 -Noisy horizontals (~1-5Hz), Occasionally pegged at -200 dB
J48A | 47.0057 | -130.5573 | 2913 | 47.1304 | -130.6513 | 2973 | 2011-11-22 | W1110B2 (L3) | 2012-05-17 | OC1205A (L1) | WHOI - Keck | probably unusable | probably unusable | probably unusable |  | good |  | high noise | #48 - Noisy Horizontals (~1-5Hz), Many mass recalibrations. Unuseable verticals
J49A | 46.4026 | -124.4297 | 116 | 46.4378 | -124.4275 | 120 | 2011-07-25 | W1107A (L1) | 2012-07-13 | TN283 (L2) | LDEO - TRM | good | good | good | good |  |  |  | #49 - 6-20Hz noise, calibration pulses (?)
J50A | 46.64 | -125.3 | 1908 | 46.6402 | -125.2991 | 1908 | 2011-10-16 | W1110B (L2) | 2012-07-20 | TN283 (L2) | LDEO - APG | good | good | good | good |  |  |  | #50 -Acceptable OBS PSD. Also Quietter than WHOI below ~1s
J51A | 46.7963 | -126.1638 | 2623 | 46.797 | -126.1641 | 2610 | 2011-10-18 | W1110B (L2) | 2012-07-18 | TN283 (L2) | LDEO - APG | good | good | good | good |  |  |  | #51 - Several Calibration pulses on all channels. Often pegged at -200 dB
J52A | 46.9833 | -127.0404 | 2620 | 46.992 | -127.0159 | 2613 | 2011-11-27 | W1110B2 (L3) | 2012-05-18 | OC1205A (L1) | WHOI - ARRA | good | good | good |  | good |  |  | #52- Noisy Horizontals (~1-5s), often pegged at -200 dB
J53A | 47.1634 | -127.9227 | 2688 | 47.1642 | -127.9221 | 2686 | 2011-11-27 | W1110B2 (L3) | 2012-05-18 | OC1205A (L1) | WHOI - Keck | issues, but probably usable | issues, but probably usable | issues, but probably usable |  | good |  | 6 Hz noise | #53 - 6-10Hz Noise on Horizontals, Often pegged at -200dB
J54A | 47.3367 | -128.8105 | 2667 | 47.3358 | -128.8116 | 2662 | 2011-11-26 | W1110B2 (L3) | 2012-05-18 | OC1205A (L1) | WHOI - ARRA | good | good | good |  | good |  |  | #54 - Slightly noisy horizontals (~1-5Hz), occasionally pegged at -200 dB
J55A | 47.5028 | -129.7034 | 2717 | 47.5305 | -129.7076 | 2800 | 2011-11-23 | W1110B2 (L3) | 2012-05-18 | OC1205A (L1) | WHOI - ARRA | good | good | good |  | good |  |  | #55 - Weird ~2s noise, occasionally pegged at -200dB
J57A | 47.08 | -124.45 | 59 | 47.0801 | -124.4505 | 56 | 2011-10-16 | W1110B (L2) | 2012-07-14 | NH1206 (L3) | SIO - Abalone | good | good | good |  | good |  |  | #57 - tons of mass recenters/calibration pulses, exceptionally noisy at long period, often pegged at -200 dB
J58A | 47.318 | -125.5322 | 1543 | 47.3188 | -125.5344 | 1510 | 2011-10-17 | W1110B (L2) | 2012-07-11 | TN283 (L2) | LDEO - APG | good | good | good | good |  |  |  | #58 - Lots of time pegged at -200dB, many calibration pulses and appears to be dying
J59A | 47.5097 | -126.4147 | 2366 | 47.5096 | -126.4153 | 2370 | 2011-10-18 | W1110B (L2) | 2012-07-11 | TN283 (L2) | LDEO - APG | good | good | good | good |  |  |  | #59- Often pegged at -200dB. Many calibration pulses(?)
J61A | 47.8722 | -128.1982 | 2639 | 47.8725 | -128.1972 | 2644 | 2011-11-26 | W1110B2 (L3) | 2012-05-20 | OC1205A (L1) | WHOI - ARRA | good | good | good |  | good |  |  | #61 - Horizontals Noisy (~6-20Hz), occasionally pegged at -200dB
J63A | 18.2062 | -130.0035 | 2856 | 48.2065 | -130.0033 | 2882 | 2011-11-24 | W1110B2 (L3) | 2012-05-19 | OC1205A (L1) | WHOI - Keck | good | issues, but probably usable | issues, but probably usable |  | good |  |  | #63 -6-10Hz Noise, Occasionally pegged at -200 dB
J65A | 47.8918 | -125.1397 | 169 | 47.8913 | -125.1396 | 165 | 2011-10-17 | W1110B (L2) | 2012-07-15 | NH1206 (L3) | SIO - Abalone | good | issues, but probably usable | good |  | good | redacted |  | #65 -8-20 Hz Noise. Lots of calibration pulses/mass recenters. Exceptionally Noisy at long periods
J67A | 48.2739 | -126.927 | 2556 | 48.15 | -127.0842 | 2612 | 2011-11-25 | W1110B2 (L3) | 2012-05-19 | OC1205A (L1) | WHOI - ARRA | good | good | good |  | good |  |  | #67 - Horizontals Noisy (~6-20Hz), occasionally pegged at -200dB
J68A | 48.4543 | -127.8302 | 2588 | 48.481 | -127.8292 | 2590 | 2011-11-25 | W1110B2 (L3) | 2012-05-19 | OC1205A (L1) | WHOI - Keck | good | issues, but probably usable | issues, but probably usable |  | good |  | 6 Hz noise | #68 - Strong 6-10 Hz Noise, Exceptionally Noisy at beyond 30s, occasionally pegged at -200 dB
J69A | 48.6275 | -128.739 | 2566 |  |  |  |  | W1110B2 (L3) | [9 empty] | Not deployed. | No PSD
J73A | 48.7668 | -126.1925 | 145 | 48.7677 | -126.1925 | 143 | 2011-10-17 | W1110B (L2) | 2012-07-15 | NH1206 (L3) | SIO - Abalone | good | good | good |  | good |  | Single block issue-fixed. Data cut and working. | #73 8-20 Hz Noise on horizontals. Lots of calibration pulses/mass recenters. Exceptionally Noisy at long periods
M01A | 49.1505 | -126.72 | 124 | 49.1504 | -126.7221 | 133 | 2011-10-17 | W1110B (L2) | 2012-07-15 | NH1206 (L3) | SIO - Abalone | issues, but probably usable | issues, but probably usable | issues, but probably usable |  | issues, but probably usable |  | Z channel looks strange. Z and DPG are noisy - possibly due to shallow depth. | #1 - Lots of calibration pulses, exceptionally noisy at 25-100s
M02A | 48.3042 | -125.6 | 138 | 48.307 | -125.6004 | 139 | 2011-10-17 | W1110B (L2) | 2012-07-15 | NH1206 (L3) | SIO - Abalone | probably unusable | probably unusable | probably unusable |  | good | redacted | X/Y/Z Not Good - Batteries came up at 25V (not spent). Looks like trilliium not powered (cabling issue?). Very low amplitude signal - not acceptable. Data cut and available. DPG data looks good for entire deployment. | #2- All channels unuseable
M03A | 47.8907 | -126.1052 | 1758 | 47.8883 | -126.104 | 1817 | 2011-10-18 | W1110B (L2) | 2012-07-11 | TN283 (L2) | LDEO - APG | good | good | good | good |  |  |  | #3 - Often pegged at -200dB. Many calibration pulses(?)#59- Often pegged at -200dB. Many calibration pulses(?)
M04A | 47.5588 | -125.1925 | 750 | 47.5581 | -125.1922 | 563 | 2011-10-17 | W1110B (L2) | 2012-07-14 | NH1206 (L3) | SIO - Abalone | unusable | unusable | unusable |  | unsable | redacted | No Data. Data logger terminated early. | No PSD
M05A | 46.175 | -124.9333 | 951 | 46.1735 | -124.9346 | 828 | 2011-10-16 | W1110B (L2) | 2012-07-14 | NH1206 (L3) | SIO - Abalone | unusable | unusable | unusable |  | unsable |  | No Data. There is something present, but it is corrupted. CF card had large zeroed sections. Will try to extract info if possible. | No PSD
M06A | 45.53 | -124.9265 | 1447 | 45.5295 | -124.9268 | 1438 | 2011-10-15 | W1110B (L2) | 2012-07-15 | TN283 (L2) | LDEO - APG | good | unusable | unusable | good |  |  |  | #6 - HH2 unuseable (pegged at -200 dB BB), HH1 and HHZ show 6-10Hz noise and are very often pegged below 1s
M07A | 44.8988 | -125.1168 | 1350 | 44.8988 | -125.1168 | 1356 | 2011-10-14 | W1110B (L2) | 2012-07-13 | NH1206 (L3) | SIO - Abalone | good | good | good |  | good |  | lost trillium sensor at recovery | 100s noise on vertical, otherwise good
M08A | 44.1183 | -124.896 | 131 | 44.1187 | -124.8953 | 126 | 2011-10-20 | W1110B (L2) | 2012-07-17 | NH1206 (L3) | SIO - Abalone | issues, but probably usable | issues, but probably usable | issues, but probably usable |  | issues, but probably usable |  | Periodic signal on X/Y (see 2012:010)-Motors? Z is low amplitude (noisy). DPG saturates on occasion (2012:059). Shallow location causing this? | Many calibration pulses, exceptionally noisy at long periods
*"issues, but probably usable" includes data with noise

## Notes
Data | file | email
WHOI data | Cascadia YR1 Station summary.xlsx | Jessica | Jessica.Lodewyk@iris.edu
positions for LDEO | Cascadia YR1 Station summary.xlsx | Jessica | Jessica.Lodewyk@iris.edu
LDEO quality | Y1Y2performance_8_01.xlsx | Andrew | barclay@ideo.columbia.edu
SIO quality | Cascadia Year1-summary.xlsx | Jeff | jbabcock@ucsd.edu
Corrections
J26A | listed as SIO in this original xlsx | listed as LDEO in barclay email
listed wrong leg fixed to NH1206 (L3)